## Southern IEN
Information on the availability of free and available capacities, locations, transmission capacities of networks of a natural monopoly
Name of substation | Dispatch Item No. | U, kV | Rated transformer capacity, kVA | Free and available capacity, MW
1 | 2 | 3 | 4 | 5
500 kV "Shymkent" SS
| АТ-1 | 500/220 | 501 | 0
| АТ-3 | 500/220 | 501
500 kV "Zhambyl" SS
| АТ-1 | 500/220 | 501 | 102.6
220 kV "Qazygurt" SS
| АТ-1 | 220/110 | 125 | 0
| АТ-2 | 220/110 | 125
220 kV "Turkibas" SS
| Т-1 | 220/35 | 25 | 10
| Т-2 | 220/35 | 25
220 kV "Sastobe" SS
| Т-1 | 220/35 | 25 | 10.2
| Т-2 | 220/35 | 25
220 kV "Qaratau" SS
| АТ-1 | 220/110 | 125 | 85.4
| АТ-2 | 220/110 | 125
220 kV "Zhanatas" SS
| АТ-1 | 220/110/35 | 63 | 4.7
| АТ-2 | 220/110/35 | 63
220 kV "Kentau" SS
| АТ-1 | 220/110 | 125 | 0
| АТ-2 | 220/110 | 125
220 kV "Sholaqqorgan" SS
| АТ-1 | 220/110 | 63 | 0
| АТ-2 | 220/110 | 63
220 kV "Qyzylorda" SS
| Т-1 | 220/35 | 40 | 0
| Т-2 | 220/35 | 40
220 kV "Zhanakorgan" SS
| Т-1 | 220/35 | 25 | 4
| Т-2 | 220/35 | 25
220 kV "Zhalagash" SS
| Т-1 | 220/35 | 20 | 4.3
220 kV "Ortalyk" SS
| АТ-1 | 220/110/10 | 125 | 0
| АТ-2 | 220/110/10 | 125